## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | BSSPFK | NS | 2026 | 1 | Flexible Cable Copper Conductor 1.1 KV Grade1.5 Squ mm Multistrand Copper Wire, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
2 | BSSPFK | NS | 2026 | 2 | Flexible Cable Copper Conductor 1.1 KV Grade 1 Squ mm Multistrand Copper Wire, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
3 | BSSPFK | NS | 2026 | 3 | Flexible Cable Copper Conductor 1.1 KV Grade 2.5 Squ mm Multistrand Copper Wire, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
4 | BSSPFK | NS | 2026 | 4 | Flexible Cable Copper Conductor 1.1 KV Grade 2.5 Squ mm (Flexible Copper Cable 3 Core), Make- Havells/Polycab/KEI | MTR |  | 90 | 0
5 | BSSPFK | NS | 2026 | 5 | Flexible Cable Copper Conductor 1.1 KV Grade 1.5 Squ mm (Flexible Copper Cable 2 Core), Make- Havells/Polycab/KEI | MTR |  | 90 | 0
6 | BSSPFK | NS | 2026 | 6 | Flexible Cable Copper Conductor 1.1 KV Grade 1.5 Squ mm 3 Core Copper Flexible Cable, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
7 | BSSPFK | NS | 2026 | 7 | Flexible Cable Copper Conductor 1.1 KV Grade 3 Core Flexible Copper Cable 4mm Sq, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
8 | BSSPFK | NS | 2026 | 8 | Flexible Cable Copper Conductor 1.1 KV Grade Copper Flexible Multistrende Lead Size - 14 Squ mm, Make- Havells/Polycab/KEI | MTR |  | 50 | 0
9 | BSSPFK | NS | 2026 | 9 | Armoured Aluminium Cable 1.1 KV Grade 2.5 Squ mm 2 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
10 | BSSPFK | NS | 2026 | 10 | Armoured Aluminium Cable 1.1 KV Grade 2.5 Squ mm 4 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 90 | 0
11 | BSSPFK | NS | 2026 | 11 | Armoured Copper Cable 1.1 KV Grade 2.5 Squ mm 2 Core , Make- Havells/Polycab/KEI/Finolex | MTR |  | 100 | 0
12 | BSSPFK | NS | 2026 | 12 | Armoured Copper Cable 1.1 KV Grade 2.5 Squ mm 3 Core , Make- Havells/Polycab/KEI/Finolex | MTR |  | 100 | 0
13 | BSSPFK | NS | 2026 | 13 | Armoured Copper Cable 1.1 KV Grade 2.5 Squ mm 16 Core , Make- Havells/Polycab/KEI/Finolex | MTR |  | 100 | 0
14 | BSSPFK | NS | 2026 | 14 | Armoured Copper Cable 1.1 KV Grade 4 Squ mm 6 Core , Make- Havells/Polycab/KEI/Finolex | MTR |  | 500 | 0
15 | BSSPFK | NS | 2026 | 15 | Armoured Copper Cable 1.1 KV Grade 4 Squ mm 7 Core , Make- Havells/Polycab/KEI/Finolex | MTR |  | 300 | 0
16 | BSSPFK | NS | 2026 | 16 | 4mm 6 Core Armoured Copper Cable Make- Havells/Polycab/KEI | MTR |  | 100 | 0
17 | BSSPFK | NS | 2026 | 17 | Armoured Aluminium Cable 1.1 KV Grade 2.5 Squ mm 3 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 200 | 0
18 | BSSPFK | NS | 2026 | 18 | Armoured Aluminium Cable 1.1 KV Grade 4 Squ mm 3 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 200 | 0
19 | BSSPFK | NS | 2026 | 19 | Armoured Aluminium Cable 1.1 KV Grade 6 Squ mm 3 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 200 | 0
20 | BSSPFK | NS | 2026 | 20 | Armoured Aluminium Cable 1.1 KV Grade 10 Squ mm 3 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 200 | 0
21 | BSSPFK | NS | 2026 | 21 | Armoured Aluminium Cable 1.1 KV Grade 16 Squ mm 3 Core Armoured Aluminium Cable, Make- Havells/Polycab/KEI | MTR |  | 200 | 0
22 | BSSPFK | NS | 2026 | 22 | Armoured Aluminium Cable 25 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
23 | BSSPFK | NS | 2026 | 23 | Armoured Aluminium Cable 35 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
24 | BSSPFK | NS | 2026 | 24 | Armoured Aluminium Cable 50 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
25 | BSSPFK | NS | 2026 | 25 | Armoured Aluminium Cable 70 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
26 | BSSPFK | NS | 2026 | 26 | Armoured Aluminium Cable 95 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
27 | BSSPFK | NS | 2026 | 27 | Armoured Aluminium Cable 95 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
28 | BSSPFK | NS | 2026 | 28 | Armoured Aluminium Cable 120 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
29 | BSSPFK | NS | 2026 | 29 | Armoured Aluminium Cable 150 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
30 | BSSPFK | NS | 2026 | 30 | Armoured Aluminium Cable 185 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
31 | BSSPFK | NS | 2026 | 31 | Armoured Aluminium Cable 240 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
32 | BSSPFK | NS | 2026 | 32 | Armoured Aluminium Cable 300 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
33 | BSSPFK | NS | 2026 | 33 | Armoured Aluminium Cable 400 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
34 | BSSPFK | NS | 2026 | 34 | Armoured Aluminium Cable 500 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
35 | BSSPFK | NS | 2026 | 35 | Armoured Aluminium Cable 630 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
36 | BSSPFK | NS | 2026 | 36 | Armoured Aluminium Cable 800 sq. mm 3 Core Make- Havells/Polycab/KEI | MTR |  | 200 | 0
37 | BSSPFK | NS | 2026 | 37 | Aluminium cable 10 Sq mm Single Core, Colour Black & Red Make- Havells/Polycab/KEI | MTR |  | 200 | 0
38 | BSSPFK | NS | 2026 | 38 | 4mm 2 Core Aluminium flate Cable for Service Connetion, Make- Havells/Polycab/KEI | MTR |  | 200 | 0
39 | BSSPFK | NS | 2026 | 39 | MMOO DC Contactor Coil Volt. - 30V DC, (4NO+4NC) with Auxiliary Contact ,Make- L&T (OEM) | NO |  | 4 | 0
40 | BSSPFK | NS | 2026 | 40 | 3 Pole Contactor MNX - 25, (1NO+1NC) Volt - 220, Cat No. CS94110 Make- L&T (OEM) | NO |  | 20 | 0
41 | BSSPFK | NS | 2026 | 41 | 3 Pole Contactor MNX - 25, (1NO+1NC) Volt - 440 Make- L&T (OEM) | NO |  | 6 | 0
42 | BSSPFK | NS | 2026 | 42 | 3 Pole Contactor MNX - 32, (1NO+1NC) Volt - 220, Cat No. CS94111 Make- L&T (OEM) | NO |  | 24 | 0
43 | BSSPFK | NS | 2026 | 43 | 3 Pole Contactor MNX - 32, (1NO+1NC) Volt - 440, Cat No. CS94111 Make- L&T (OEM) | NO |  | 4 | 0
44 | BSSPFK | NS | 2026 | 44 | 3 Pole Contactor MNX - 32, (1NO+1NC) Volt - 110, Cat No. CS94111 Make- L&T (OEM) | NO |  | 6 | 0
45 | BSSPFK | NS | 2026 | 45 | 3 Pole Contactor MNX - 40, (1NO+1NC) Volt - 110 Make- L&T (OEM) | NO |  | 3 | 0
46 | BSSPFK | NS | 2026 | 46 | 3 Pole Contactor MNX - 95, (1NO+1NC) Volt - 220, Cat No. CS94136 Make- L&T (OEM) | NO |  | 5 | 0
47 | BSSPFK | NS | 2026 | 47 | 3 Pole Contactor MNX - 225, (2NO+2NC) Volt - 110, Cat No. CS94140 Make- L&T (OEM) | NO |  | 4 | 0
48 | BSSPFK | NS | 2026 | 48 | 3 Pole Contactor - A75-30 Amp (2NO+2NC), Coil Vol. 220 Make- ABB | NO |  | 2 | 0
49 | BSSPFK | NS | 2026 | 49 | 3 Pole Contactor - A145-30 Amp (3NO+3NC), Ith - 250 Amp, Ie AC-1.250 Amp Ui AC - 1000 Volt. IEC-60947-4-1, EM-60947-4-1, Coil Vol. 220 Make- ABB | NO |  | 2 | 0
50 | BSSPFK | NS | 2026 | 50 | 3 Pole Contactor - A110 (3NO+3NC), Ui - 1000 Volt. , Ith -160 Amp, Ie AC-1- 160 Amp, IEC-60947-4-1, EM-60947-4-1, Coil Vol. 220 Make- ABB | NO |  | 2 | 0
51 | BSSPFK | NS | 2026 | 51 | Auxiliary Add ON Block CAL5-11, A600Q300, 15 Amp (1NO+1NC) Make - ABB | NO |  | 16 | 0
52 | BSSPFK | NS | 2026 | 52 | Auxiliary Add ON Block BCLF10.MOD.1, IEC/EN - 60947-5-1, VDE-0660, Ith-10 Amp, Make - GE | NO |  | 16 | 0
53 | BSSPFK | NS | 2026 | 53 | 3 Pole Contactor CL06A300M, 80 Amp, 600- Volt., AC- Max., Hz - 50/60, Ith - 90 Amp, Ie - 50 Amp, Ui - 1000 Volt., Torque - 4.5 Mm, AC-3, Make - GE | NO |  | 2 | 0
54 | BSSPFK | NS | 2026 | 54 | 3 Pole Contactor CL07A300M, AC-3, 415-Volt., Make - GE | NO |  | 2 | 0
55 | BSSPFK | NS | 2026 | 55 | 3 Pole Contactor CK75CA300, 156-Amp, 600-Volt., Max. - 50/60 Hz, Make - GE | NO |  | 4 | 0
56 | BSSPFK | NS | 2026 | 56 | 3 Pole Contactor CL06A300M, Iec-947VDE0660BS5424, Ie-50 Amp, Ith - 90 Amp, Ui - 1000 Volt., Torque - 4.5 Mm, AC-3, Make - GE | NO |  | 2 | 0
57 | BSSPFK | NS | 2026 | 57 | 3 Pole Contactor A75-30, (2NO + 2NC) Make - ABB | NO |  | 2 | 0
58 | BSSPFK | NS | 2026 | 58 | 3 Pole Contactor A145-30, (3NO+3NC), Coil Volt. 220V, Ith - 250 Amp, Ie - AC-1-250Amp, Ui-1000V AC, Iec - 60947-4-1, EN - 60947-4-1, Make - ABB | NO |  | 1 | 0
59 | BSSPFK | NS | 2026 | 59 | 3 Pole Contactor A110, Ui-1000 Volt., Ith - 160 Amp, Ie/AC 1 - 160 Amp, Coil Volt. - 220, Make - ABB | NO |  | 1 | 0
60 | BSSPFK | NS | 2026 | 60 | 3 Pole Contactor CK08CE300, IEC/EM60947VDE0660, Ith- 250 Amp, Ui - 1000 Volt., 180 - Amp, 600- Volt. AC Max - 50/60 Hz, Make - GE | NO |  | 3 | 0
61 | BSSPFK | NS | 2026 | 61 | 3 Pole Contactor CK95BE300, AC-3, 415- Volt., Coil Volt. - 220, Make - GE | NO |  | 2 | 0
62 | BSSPFK | NS | 2026 | 62 | 4 Pole Contactor ABB-A26, Ui -1000 Volt., Ith - 45 Amp, Ie - AC - 1 = 45 Amp, Iec - 60947-4-1, EN - 60947-4-1, 600 Volt. AC Max., Make - ABB | NO |  | 4 | 0
63 | BSSPFK | NS | 2026 | 63 | MN - 2 Type Relay Range - 14 to 23 Amp, Cat No. SS9414400D0 Make - L&T (OEM) | NO |  | 24 | 0
64 | BSSPFK | NS | 2026 | 64 | Over Load Relay MN - 5 Type, 20-33Amp with Nut & Bolt Cat No. SS9413600E0 Make-L&T (OEM) | NO |  | 16 | 0
65 | BSSPFK | NS | 2026 | 65 | Over Load Relay MN - 5 Type, 45-75Amp, Cat No. SS9413700J0 Make-L&T (OEM) | NO |  | 15 | 0
66 | BSSPFK | NS | 2026 | 66 | CT Operated Thermal Over Load Relay Type ML12L, Range - 180 to 300 Amp, Cat No. SS9412700Q0 Make - L& T (OEM) | NO |  | 6 | 0
67 | BSSPFK | NS | 2026 | 67 | Under Voltage Relay Type - VDG (27VDG13), Model No. - VDG13F9101AC11, Sl.No. 130271230208001, Aux. Volt. 24 - 2422250 Volt. DC, Volts. - 110V AC (10 Connection Points) Make - ALSTOM Ltd. Transmission & Distribution Protection & Control, Pallavaram Chennai - 600043, Tel. - 044-2368621, Fax. - 044-2367276 | NO |  | 1 | 0
68 | BSSPFK | NS | 2026 | 68 | Tripple Pole Differential Relay Type - CAG (87CAG34), Model No. - CAG34AF58A, Sl. No. - 99381760001, C.T. Sec. 5 Amp, 0.52-2 Amp, 50 - Hz, (Left, Center & Right) 10 Terminal Point, Make - ALSTOM Ltd. Transmission & Distribution Protection & Control, Pallavaram Chennai - 600043, Tel. - 044-2368621, Fax. - 044-2367276 | NO |  | 1 | 0
69 | BSSPFK | NS | 2026 | 69 | High Speed Trip Relay 86G VAJ HM Tripping Relay Type VAJ, Model No. - VAJHM13ZG7G, SL No. - 130216890133002, Reset Volts. - Operating Volts 24-30V DC, 12 Point Terminal. Make - ALSTOM Ltd. Transmission & Distribution Protection & Control, Pallavaram Chennai - 600043, Tel. - 044-2368621, Fax. - 044-2367276 | NO |  | 1 | 0
70 | BSSPFK | NS | 2026 | 70 | High Speed Trip Relay Type VAJ, 86 T VAJHM13, Model No. VAJHM13ZG6D, Sl. No. - 130096530036002, Reset Volt, Operating Volt., - 24-30 DC, 12 Terminal Point Make - ALSTOM Ltd. Transmission & Distribution Protection & Control, Pallavaram Chennai - 600043, Tel. - 044-2368621, Fax. - 044-2367276 | NO |  | 1 | 0
71 | BSSPFK | NS | 2026 | 71 | Breaker Control Switch Make and carry 20A, 660V AC/DC, Ref. No. - ODS, (08 Point), Make ALSTOM | NO |  | 4 | 0
72 | BSSPFK | NS | 2026 | 72 | TPN FN - 63 Amp, Cat No. SK95421 Make- L&T (OEM) | NO |  | 18 | 0
73 | BSSPFK | NS | 2026 | 73 | TPN FN - 160 Amp, Cat No. SK95713 Make- L&T (OEM) | NO |  | 8 | 0
74 | BSSPFK | NS | 2026 | 74 | TPN FN - 400 Amp Cat No. SK 95481 Make-L&T (OEM) | NO |  | 10 | 0
75 | BSSPFK | NS | 2026 | 75 | TPN FN - 630 Amp, Cat No. SK 95521 Make-L&T (OEM) | NO |  | 2 | 0
76 | BSSPFK | NS | 2026 | 76 | TPN (Kit kat) - 63 Amp, Make - Havells | NO |  | 4 | 0
77 | BSSPFK | NS | 2026 | 77 | TPN (Kit kat) - 100 Amp, Make - Havells | NO |  | 4 | 0
78 | BSSPFK | NS | 2026 | 78 | Heavy Duty Switch Disconnector Fuse, 3KL54 30-1YA00, Ie 200A AC22A/AC23A, 550V, 50 - Hz, Max - 200A, Make - Siemens | NO |  | 2 | 0
79 | BSSPFK | NS | 2026 | 79 | Heavy Duty Switch Disconnector Fuse, 3KL8421 1YA00, IEC/EN 60947-3, IS 13917-3, 3 Phase, 690 Volt., AC-400, 50 -Hz, Max. - 400 A, Make - Siemens | NO |  | 1 | 0
80 | BSSPFK | NS | 2026 | 80 | Main Incomer Switch 1650 Amp, (As Per Sample) Make - L&T (OEM) | NO |  | 1 | 0
81 | BSSPFK | NS | 2026 | 81 | HRC Fuse 4 Amp NS Type, Make-L&T (OEM) | NO |  | 24 | 0
82 | BSSPFK | NS | 2026 | 82 | HRC Fuse 6 Amp NS Type, Make-L&T (OEM) | NO |  | 12 | 0
83 | BSSPFK | NS | 2026 | 83 | HRC Fuse 4 Amp HF Type, Cat No. SF 90145 Make-L&T (OEM) | NO |  | 30 | 0
84 | BSSPFK | NS | 2026 | 84 | HRC Fuse 16 Amp HF Type, Cat No.90150 Make-L&T (OEM) | NO |  | 60 | 0
85 | BSSPFK | NS | 2026 | 85 | HRC Fuse 32 Amp HF Type, Make-L&T (OEM) | NO |  | 60 | 0
86 | BSSPFK | NS | 2026 | 86 | HRC Fuse 63 Amp HF Type, Cat No. SF 90159 Make-L&T (OEM) | NO |  | 120 | 0
87 | BSSPFK | NS | 2026 | 87 | HRC Fuse 63 Amp HN Type, Cat No. SF 94027 Make-L&T (OEM) | NO |  | 24 | 0
88 | BSSPFK | NS | 2026 | 88 | HRC Fuse 400 Amp HN Type Size - 2, Cat No. SF 94335 Make - L&T (OEM) | NO |  | 18 | 0
89 | BSSPFK | NS | 2026 | 89 | Liquid Rotor Controller Sr. No. - 364/03/2509, Type - P.L.R.S., HP- 100, R.V. - 480V, R.A.- 92, Phase - 3, Cycles - 50, Supply - AC Make-PIONEER ELECTRICAL WORKS 1R.K. INDUSTRIES HOUSE MUMBAI | NO |  | 2 | 0
90 | BSSPFK | NS | 2026 | 90 | Liquid Rotor Controller (Buffer) Sr. No. - 608/03/250, Type - P.L.R.S., HP- 750, R.V. - 525V, R.A.- 575, Phase - 3, Cycles - 50, Supply - AC, Make-PIONEER ELECTRICAL WORKS 1R.K. INDUSTRIES HOUSE MUMBAI | NO |  | 1 | 0
91 | BSSPFK | NS | 2026 | 91 | Liquid Rotor Controller (Buffer) Sr. No. - 651/12, Type - P.L.R.S., HP- 250, R.V. - 553V, R.A.- 208, Phase - 3, Cycles - 50, Supply - AC Make- Parimal Engineering Industries | NO |  | 1 | 0
92 | BSSPFK | NS | 2026 | 92 | Liquid Rotor Controller (Buffer) Sr. No. - 07915/3444, Type - P.L.R.S., HP/KW- 187, R.V. - 475V, R.A.- 275, Phase - 3, Cycles - 50, Supply - AC Make- Parimal Engineering Industries | NO |  | 2 | 0
93 | BSSPFK | NS | 2026 | 93 | Battery for AC Generator (D.G.) 1000 KVA :- Supply V - 24V, 200 Ah Details - AX1013237 SMPS Details - Part No. AX1006288, Rating : 24V, 10 AMPS, Make- Cummins (Pulse ultra Plus without SMPS Charger) | SET |  | 2 | 0
94 | BSSPFK | NS | 2026 | 94 | Auto Transformer for 250 Motor Starter 3 PH, 50Hz, Line 325A, Tapping - 65%75%85% HP, Serial No. VTO 650 Make - Starlit Electricals Akurdi Pune | NO |  | 1 | 0
95 | BSSPFK | NS | 2026 | 95 | Slip Ring KW - 125, HP - 167, RPM - 1465, Frame No. - CW280M, Make - C.G. | NO |  | 6 | 0
96 | BSSPFK | NS | 2026 | 96 | Slip Ring Carbon Brush Holder Stude KW - 125, HP - 167, RPM - 1465, Frame No. - CW280M, Make - C.G. | NO |  | 12 | 0
97 | BSSPFK | NS | 2026 | 97 | Slip Ring Holder KW - 125, HP - 167, RPM - 1465, Frame No. - CW280M, Make - C.G. | NO |  | 50 | 0
98 | BSSPFK | NS | 2026 | 98 | Maching No. - NADWZF1104, Frame No. NVW400LX, KW/HP – 200/270, RPM – 742, EFF (FL) – 93.50%, Volt. – 415, Amp. – 392.00 Delta, Duty – S1, IP -55, Ref. No. LJAM1463, Hz – 50, Rotor Volt. – 510, Rotor Amp. – 300, MFG:B3 Make – CG (Slipring Unit) | NO |  | 2 | 0
99 | BSSPFK | NS | 2026 | 99 | Jaw Contact 4000 Assembly - 3200/4000, HO/H2/H/H1, Cat. No. - SL93200OOOO, Make - L&T (OEM) | NO |  | 6 | 0
100 | BSSPFK | NS | 2026 | 100 | Rotor Frame No. NADM 14612, KW/HP - 15/20, RPM - 975, Volt. - 415+ - 10Z Ref. - BLAM1741, Duty - S4 Make - CG | NO |  | 2 | 0
101 | BSSPFK | NS | 2026 | 101 | Syncronous Timer EM2000, 2 Delay, Timing 120 Sec. Make - L&T | NO |  | 6 | 0
102 | BSSPFK | NS | 2026 | 102 | Timer - 800XA, Supply - 1A, A2 , 20V To 240V AC, 12 V to 240 V DC, 50/60 - Hz, Contact - 5 Amp, 250V AC/24V DC Make - SELEC | NO |  | 8 | 0
103 | BSSPFK | NS | 2026 | 103 | Star - Delta Timer, Cat No. - 2A5DTO, Batch No. - 20130805-949-R8, Timing - 120 Sec. , Make - L&T | NO |  | 12 | 0
104 | BSSPFK | NS | 2026 | 104 | Timer ET100, 36 to 120 Sec. , Regd. Design No. - 143842 Make - L&T | NO |  | 4 | 0
105 | BSSPFK | NS | 2026 | 105 | OMROM H3BK2 - A2, Timer, Lot No. - 04113M, Conform to EM6182-1, Itc -60664-1, 4KV/2, 24-240V AC, 50/60 Hz, UN - 250V AC, 30V DC, Make - OMROM | NO |  | 4 | 0
106 | BSSPFK | NS | 2026 | 106 | Timer Model A1D1 - X (CSA, On Delay Timer), Volt. - 'X' VTG.0.3S-30M, RLY2C/O, CSA, Make - EAPL, Electronic Automation Pvt. Ltd. Bangalore | NO |  | 18 | 0
107 | BSSPFK | NS | 2026 | 107 | Minilec Make -Relay, MPR D2, Sl. No. - 1H1186, Aux. Supply - 415 Volt. , Over Load Time Set. - 2/5 Sec. For 1 Max. Refer CTS, Current Seting - 0.4 Amp to 1.0 Amp, Make - Minilec | NO |  | 2 | 0
108 | BSSPFK | NS | 2026 | 108 | Current Convertor Range : 2-5 Amp, Make - Minilec | NO |  | 2 | 0
109 | BSSPFK | NS | 2026 | 109 | Motor End Plastic Fan KW/HP - 22.5/30, RPM - 1480, Plastic Fan (As Per Sample) Make - C.G. Make - C.G, | NO |  | 1 | 0
110 | BSSPFK | NS | 2026 | 110 | Motor End Plastic Fan M/C No. - NADP54, Frame No. - ND225M, Ref. No. - BKAM0279, KW/HP - 45/60, RPM - 1480, (As Per Sample) Make- C.G. | NO |  | 6 | 0
111 | BSSPFK | NS | 2026 | 111 | Carbon Brush for 3.7KW, 5 HP, (As Per Sample) Make- C.G. | NO |  | 6 | 0
112 | BSSPFK | NS | 2026 | 112 | Carbon Brush for 5KW, 7.5 HP, 24X16X12.5 (As Per Sample) Make- C.G. | NO |  | 12 | 0
113 | BSSPFK | NS | 2026 | 113 | Carbon Brush KW - 125, HP - 167, RPM - 1465, Frame No. - CW280M, Size - 20X40X40mm, Make - C.G. | NO |  | 100 | 0
114 | BSSPFK | NS | 2026 | 114 | Motor & Plastic Fan 132 M for 2 HP (As Per Sample) Make - CG | NO |  | 6 | 0
115 | BSSPFK | NS | 2026 | 115 | Motor & Plastic Fan 132 M for 3 HP (As Per Sample) Make - CG | NO |  | 6 | 0
116 | BSSPFK | NS | 2026 | 116 | Motor & Plastic Fan 112 M for 5 HP (As Per Sample) Make - CG | NO |  | 12 | 0
117 | BSSPFK | NS | 2026 | 117 | Motor & Plastic Fan 132 M for 7.5 HP (As Per Sample) Make - CG | NO |  | 12 | 0
118 | BSSPFK | NS | 2026 | 118 | Motor & Plastic Fan for 10 HP (As Per Sample) Make - CG | NO |  | 12 | 0
119 | BSSPFK | NS | 2026 | 119 | Motor & Plastic Fan 160 L for 20 HP (As Per Sample) Make - CG | NO |  | 10 | 0
120 | BSSPFK | NS | 2026 | 120 | Foot Mounted Motor 5 Kw/ Hp-7.5 RPM-1440 ,Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 1 | 0
121 | BSSPFK | NS | 2026 | 121 | Foot Mounted Motor 7.5 Kw/ Hp-10 RPM-1440 ,Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 1 | 0
122 | BSSPFK | NS | 2026 | 122 | Foot Mounted Motor 15 Kw/ Hp-20 RPM-1440 ,Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
123 | BSSPFK | NS | 2026 | 123 | Foot Mounted Motor 22 Kw/ Hp-30 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
124 | BSSPFK | NS | 2026 | 124 | Foot Mounted Motor 30Kw/ Hp-40 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
125 | BSSPFK | NS | 2026 | 125 | Foot Mounted Motor 37 Kw/ Hp-50 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standardMake-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
126 | BSSPFK | NS | 2026 | 126 | Foot Mounted Motor 45 Kw/ Hp-60 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
127 | BSSPFK | NS | 2026 | 127 | Foot Mounted Motor 75 Kw/ Hp-100 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
128 | BSSPFK | NS | 2026 | 128 | Foot Mounted Motor 90Kw/ Hp-120 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G/ | NO |  | 2 | 0
129 | BSSPFK | NS | 2026 | 129 | Foot Mounted Motor 110Kw/ Hp-148 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standardMake-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
130 | BSSPFK | NS | 2026 | 130 | Foot Mounted Sleep Ring Motor 100Kw/ Hp-148 RPM-1440 Phase-3 Phase Volt-415 Hz-50 insulation Class F ,IEC standard Make-ABB/Siemens/Marathon Electric/C.G | NO |  | 2 | 0
131 | BSSPFK | NS | 2026 | 131 | AC Drive (VFD) With complete Suitable Panel & accessories,for DCS/LOCAL/Remote operation panel front mounted Digital ,Amp.Meter,Voltmeter,ON,OFF,Increase,Decrease,Re set,Emergency,Push Button,Remot box Contains ON,OFF,Increase,Decrease,Re set,Emergency,Push Button,,all indicators requiredDuty-Heavy KW-120 Rated Current-435 Amp.Volt-415Ac Phase-3 Hz-50 Over load current Min.150% Max.2000% for 1 min. every 10 min.Low power consumption keeps a stable Voltage automaticaly when grid voltage transients.User programmable analog & digital I/OS true over load & ground fault protection ,provided over 30 fauilt protection,Conformal coating on card,Built in EMF Filter Ambient Temp.-45 (°C) MAKE- ABB AC Drive S 880 /YASKAWA AC Drive GA800 | NO |  | 1 | 0
132 | BSSPFK | NS | 2026 | 132 | AC Drive (VFD) With complete Suitable Panel & accessories,for DCS/LOCAL/Remote operation panel front mounted Digital ,Amp.Meter,Voltmeter,ON,OFF,Increase,Decrease,Re set,Emergency,Push Button,Remot box Contains ON,OFF,Increase,Decrease,Re set,Emergency,Push Button,,all indicators requiredDuty-Heavy KW-250 Rated Current-435 Amp.Volt-415Ac Phase-3 Hz-50 Over load current Min.150% Max.2000% for 1 min. every 10 min.Low power consumption keeps a stable Voltage automaticaly when grid voltage transients.User programmable analog & digital I/OS true over load & ground fault protection ,provided over 30 fauilt protection,Conformal coating on card,Built in EMF Filter Ambient Temp.-45 (°C) MAKE- ABB AC Drive S 880 /YASKAWA AC Drive GA800 | NO |  | 1 | 0
133 | BSSPFK | NS | 2026 | 133 | Motor End Plastic Fan M/C No. - NADP54, Frame No. - ND225M, Ref. No. - BKAM0279, KW/HP - 45/60, RPM - 1480, (As Per Sample) Make- C.G. | NO |  | 6 | 0
134 | BSSPFK | NS | 2026 | 134 | Non Drive Plastic Fan for HP - 20, ND - 180-147P, Make - CG | NO |  | 5 | 0
135 | BSSPFK | NS | 2026 | 135 | Non Drive Metalic Fan for HP - 20, ND - 180-147P, Make - CG | NO |  | 3 | 0
136 | BSSPFK | NS | 2026 | 136 | Motor Terminal For 5 HP (As Per Sample) Make- C.G. | NO |  | 12 | 0
137 | BSSPFK | NS | 2026 | 137 | Motor Terminal For 7.5 HP (As Per Sample) Make- C.G. | NO |  | 12 | 0
138 | BSSPFK | NS | 2026 | 138 | Motor Terminal For 15 HP (As Per Sample) Make- C.G. | NO |  | 12 | 0
139 | BSSPFK | NS | 2026 | 139 | Motor Terminal For 20 HP (As Per Sample) Make- C.G. | NO |  | 12 | 0
140 | BSSPFK | NS | 2026 | 140 | Motor Terminal For 25 HP (As Per Sample) Make- C.G. | NO |  | 8 | 0
141 | BSSPFK | NS | 2026 | 141 | Motor Terminal For 30 HP (As Per Sample) Make- C.G. | NO |  | 8 | 0
142 | BSSPFK | NS | 2026 | 142 | Motor Terminal For 35 HP (As Per Sample) Make- C.G. | NO |  | 6 | 0
143 | BSSPFK | NS | 2026 | 143 | Motor Terminal For 40 HP (As Per Sample) Make- C.G. | NO |  | 4 | 0
144 | BSSPFK | NS | 2026 | 144 | Motor Terminal For 50 HP (As Per Sample) Make- C.G. | NO |  | 4 | 0
145 | BSSPFK | NS | 2026 | 145 | Motor Terminal For 60 HP (As Per Sample) Make- C.G. | NO |  | 4 | 0
146 | BSSPFK | NS | 2026 | 146 | Motor Terminal For 75 HP (As Per Sample) Make- C.G. | NO |  | 6 | 0
147 | BSSPFK | NS | 2026 | 147 | Motor Terminal For 100 HP (As Per Sample) Make- C.G. | NO |  | 6 | 0
148 | BSSPFK | NS | 2026 | 148 | Motor Terminal For 100 HP (As Per Sample) Make- ABB | NO |  | 2 | 0
149 | BSSPFK | NS | 2026 | 149 | Motor End Aluminium Casting Fan KW/HP - 22.5/30, RPM - 1480, Plastic Fan (As Per Sample) Make - C.G. Make - C.G, | NO |  | 1 | 0
150 | BSSPFK | NS | 2026 | 150 | (Crompton Greaves Motor) Non Drive & Drive Side Motor Cover Motor Details HP - 10 RPM - 1460 Duty - S1 (As Per Sample) Make -CG | NO |  | 6 | 0
151 | BSSPFK | NS | 2026 | 151 | (Crompton Greaves Motor) Non Drive & Drive Side Motor Cover Motor Details KW/HP - 11/15 RPM - 1460 Duty - S1 Dearing - DE/ND 6309-2RS REF - BKAM - 035A Frame Number - ND160L (As Per Sample) Make -CG | NO |  | 6 | 0
152 | BSSPFK | NS | 2026 | 152 | (Crompton Greaves Motor) Non Drive & Drive Side Motor Cover Motor Details KW/HP - 15/20 RPM - 1460 Duty - S1 Dearing - DE/ND 6309-2RS REF - BKAM - 0479 Frame Number - ND160L (As Per Sample) Make -CG | NO |  | 6 | 0
153 | BSSPFK | NS | 2026 | 153 | Sleep Ring for 12.50 HP, RPM - 960, Duty - S4 (40%), Volt. - 415V, Fz - 50 Make - C.G. | NO |  | 1 | 0
154 | BSSPFK | NS | 2026 | 154 | VCB Contractor Coil for Enclosure type - VMX Rated Volt. - 11KV, Rated Amp - 630, Phase - 3, Fz - 50, City Ratio - 500/1A, CTS Type Cast Rebin (As Per Sample) Make - Alston | NO |  | 1 | 0
155 | BSSPFK | NS | 2026 | 155 | VCB Tripping Coil, Coil Volt. - 110V, Make - Alstom | NO |  | 4 | 0
156 | BSSPFK | NS | 2026 | 156 | Non Drive Plastic Fan for HP - 20, ND - 180-147P Make - CG | NO |  | 5 | 0
157 | BSSPFK | NS | 2026 | 157 | Non Drive Metalic Fan for HP - 20, ND - 180-147P Make - CG | NO |  | 3 | 0
158 | BSSPFK | NS | 2026 | 158 | 5 HP Submersible Motor Pump Set (6 Stage) Make- Kirloskar Brothers Limited, Crompton Greaves, V-Guard, Havells, Lubi Industries, and CRI | NO |  | 2 | 0
159 | BSSPFK | NS | 2026 | 159 | Heavy Duty Power Capacitor S.No. E50/5646/C3, KVAr 50, Volts - 440, Hz -50, Temp. Cat - 10/D, Fhase - 3, Ins. Level 3/kv, Connection - Delta, Wt. 23.0kg. Approx. Rated Current - 65.61A, Dielectric MPP 'SH', Discharge Device - Resistor E, Empregnant NPCB Make -EPCOS (Siemens Power Quality) | NO |  | 1 | 0
160 | BSSPFK | NS | 2026 | 160 | 6 MW Electrical Panel( Switch yard metering panel,Switch yadr relay panel & new complete transformer Protection relay,11 KV-6 Mw Merering cum Synchronisation panel,Anolog AVR panel-2 no. 6MW T.T Protection Panel Complete Re-wiring & Repacement of contractor wich are doing malfuctioning and testing with grid & Protection Parameters which are suitable.(Required Experience of above is Minimum 5 Years & also referance of the above work) | Job |  | 1 | 0
161 | BSSPFK | NS | 2026 | 161 | Supply fitting and commissioning of a single unit numerical Transformer Protection IED, Make : Schneider Electric/GE Make, Model Number : Micom P642, Vx AUX Rating : 110-250 V DC, 100 - 240 V AC in/Vn Rating : In = 1/5 A, VN = 110 V AC, Product Specific : Size 60 Te Case, No Option ( 8 Optos (DI) + 8 Relays (DO)) and Configuration, & testing of Schneider Electric/GE Make Micom P642 Relay | Job |  | 1 | 0
162 | BSSPFK | NS | 2026 | 162 | Servicing of D.G Set Make- Cummins -1000KVA (Required Spare Also Supply and fitting and comissioning) | Job |  | 1 | 0
163 | BSSPFK | NS | 2026 | 163 | Servicing of D.G Set Make- Cummins -750KVA(Required Spare Also Supply and fitting and comissioning) | Job |  | 1 | 0
164 | BSSPFK | NS | 2026 | 164 | Servicing of D.G Set Make- Cummins -320 KVA(Required Spare Also Supply and fitting and comissioning) | Job |  | 1 | 0
165 | BSSPFK | NS | 2026 | 165 | 3MW Turibe Joyti Make Alernator Radiator Re-Tubeing Tube Size 3/4X18BWGX1420mm Long No of Tube 42(MOC-AD Brass SBIIIC44300/SS304 Gr. - Hydroulic Test Pressure - 7Cm2G FIN.SPIRAL CRAMPED | Job |  | 1 | 0
166 | BSSPFK | NS | 2026 | 166 | 3MWJoyti Make Alernator Generator Rotor Dynamic/Static Balancing (RPM 1500-1800), and Electrical and Instrumentation, Generator, Testing Calibration, Test On Stator- Visual Inspection, Polaraization Indes Test, Insulation Resistance Test, DC Winding Resistance Measurements, Digital Elcid Test On Magnetic Core, Tan Delta & Capacitence Test, DC HV Test Wedge Knocking Test , DC HV Test, Wedge Knocking Tes, PD Probe Test, PDCA, TESTON Rotor - IR Measurement, DC Winding Resistance Measurement, AC Impedence Measurment, RSO Tes, Pole Drop, TestOn Exciter - IR Measurement, DC Winding Resistance Measurment, DIODEWheeel Checking a) Individual Diode Ressistance in Forward & Reverse Direction, Dismantling and After Cleaning Assembling, Visual Inspection of Stator and Rotor WithBoroscope, Exciter Field & Armature Test, PMG- IR Value, DC Winding Resistance, Alternator Stator Dismatling & Assembling - Exciter Dismantling,Generator Dismantling, Dry ICE Blasting, Arranging Air Compressor For Dry ICE Cleaning, Heating With Dryer, Varnishing and Reheating With Dryer. Minimum-5 Years in Sugar factory( Work order attached) | Job |  | 1 | 0
167 | BSSPFK | NS | 2026 | 167 | 33&11 KVA Transformer OLTC Servicing/Leakage Seal Kit Replacement and Oil Centrifuge Work Minimum-5 Years in Sugar factory( Work order attached) | Job |  | 1 | 0
168 | [8 empty] | 0
169 | [8 empty] | 0
170 | [8 empty] | 0
171 | [8 empty] | 0
172 | [8 empty] | 0
173 | [8 empty] | 0
174 | [8 empty] | 0
175 | [8 empty] | 0
176 | [8 empty] | 0
177 | [8 empty] | 0
178 | [8 empty] | 0
179 | [8 empty] | 0
180 | [8 empty] | 0
181 | [8 empty] | 0
182 | [8 empty] | 0
183 | [8 empty] | 0
184 | [8 empty] | 0
185 | [8 empty] | 0
186 | [8 empty] | 0
187 | [8 empty] | 0
188 | [8 empty] | 0
189 | [8 empty] | 0
190 | [8 empty] | 0
191 | [8 empty] | 0
192 | [8 empty] | 0
193 | [8 empty] | 0
194 | [8 empty] | 0
195 | [8 empty] | 0
196 | [8 empty] | 0
197 | [8 empty] | 0
198 | [8 empty] | 0
199 | [8 empty] | 0
200 | [8 empty] | 0
201 | [8 empty] | 0
202 | [8 empty] | 0
203 | [8 empty] | 0
204 | [8 empty] | 0
205 | [8 empty] | 0
206 | [8 empty] | 0
207 | [8 empty] | 0
208 | [8 empty] | 0
209 | [8 empty] | 0
210 | [8 empty] | 0
211 | [8 empty] | 0
212 | [8 empty] | 0
213 | [8 empty] | 0
214 | [8 empty] | 0
215 | [8 empty] | 0
216 | [8 empty] | 0
217 | [8 empty] | 0
218 | [8 empty] | 0
219 | [8 empty] | 0
220 | [8 empty] | 0
221 | [8 empty] | 0
222 | [8 empty] | 0
223 | [8 empty] | 0
224 | [8 empty] | 0
225 | [8 empty] | 0
226 | [8 empty] | 0
227 | [8 empty] | 0
228 | [8 empty] | 0
229 | [8 empty] | 0
230 | [8 empty] | 0
231 | [8 empty] | 0
232 | [8 empty] | 0
233 | [8 empty] | 0
234 | [8 empty] | 0
235 | [8 empty] | 0
236 | [8 empty] | 0
237 | [8 empty] | 0
238 | [8 empty] | 0
239 | [8 empty] | 0
240 | [8 empty] | 0
241 | [8 empty] | 0
242 | [8 empty] | 0
243 | [8 empty] | 0
244 | [8 empty] | 0
245 | [8 empty] | 0
246 | [8 empty] | 0
247 | [8 empty] | 0
248 | [8 empty] | 0
249 | [8 empty] | 0
250 | [8 empty] | 0
251 | [8 empty] | 0
252 | [8 empty] | 0
253 | [8 empty] | 0
254 | [8 empty] | 0
255 | [8 empty] | 0
256 | [8 empty] | 0
257 | [8 empty] | 0
258 | [8 empty] | 0
259 | [8 empty] | 0
260 | [8 empty] | 0
261 | [8 empty] | 0
262 | [8 empty] | 0
263 | [8 empty] | 0
264 | [8 empty] | 0
265 | [8 empty] | 0
266 | [8 empty] | 0
267 | [8 empty] | 0
268 | [8 empty] | 0
269 | [8 empty] | 0
270 | [8 empty] | 0
271 | [8 empty] | 0
272 | [8 empty] | 0
273 | [8 empty] | 0
274 | [8 empty] | 0
275 | [8 empty] | 0
276 | [8 empty] | 0
277 | [8 empty] | 0
278 | [8 empty] | 0
279 | [8 empty] | 0
280 | [8 empty] | 0
281 | [8 empty] | 0
282 | [8 empty] | 0
283 | [8 empty] | 0
284 | [8 empty] | 0
285 | [8 empty] | 0
286 | [8 empty] | 0
287 | [8 empty] | 0
288 | [8 empty] | 0
289 | [8 empty] | 0
290 | [8 empty] | 0
291 | [8 empty] | 0
292 | [8 empty] | 0
293 | [8 empty] | 0
294 | [8 empty] | 0
295 | [8 empty] | 0
296 | [8 empty] | 0
297 | [8 empty] | 0
298 | [8 empty] | 0
299 | [8 empty] | 0
300 | [8 empty] | 0
301 | [8 empty] | 0
302 | [8 empty] | 0
303 | [8 empty] | 0
304 | [8 empty] | 0
305 | [8 empty] | 0
306 | [8 empty] | 0
307 | [8 empty] | 0
308 | [8 empty] | 0
309 | [8 empty] | 0
310 | [8 empty] | 0
311 | [8 empty] | 0
312 | [8 empty] | 0
313 | [8 empty] | 0
314 | [8 empty] | 0
315 | [8 empty] | 0
316 | [8 empty] | 0
317 | [8 empty] | 0
318 | [8 empty] | 0
319 | [8 empty] | 0
320 | [8 empty] | 0
321 | [8 empty] | 0
322 | [8 empty] | 0
323 | [8 empty] | 0
324 | [8 empty] | 0
325 | [8 empty] | 0
326 | [8 empty] | 0
327 | [8 empty] | 0
328 | [8 empty] | 0
329 | [8 empty] | 0
330 | [8 empty] | 0
331 | [8 empty] | 0
332 | [8 empty] | 0
333 | [8 empty] | 0
334 | [8 empty] | 0
335 | [8 empty] | 0
336 | [8 empty] | 0
337 | [8 empty] | 0
338 | [8 empty] | 0
339 | [8 empty] | 0
340 | [8 empty] | 0
341 | [8 empty] | 0
342 | [8 empty] | 0
343 | [8 empty] | 0
344 | [8 empty] | 0
345 | [8 empty] | 0
346 | [8 empty] | 0
347 | [8 empty] | 0
348 | [8 empty] | 0
349 | [8 empty] | 0
350 | [8 empty] | 0
351 | [8 empty] | 0
352 | [8 empty] | 0
353 | [8 empty] | 0
354 | [8 empty] | 0
355 | [8 empty] | 0
356 | [8 empty] | 0
357 | [8 empty] | 0
358 | [8 empty] | 0
359 | [8 empty] | 0
360 | [8 empty] | 0
361 | [8 empty] | 0
362 | [8 empty] | 0
363 | [8 empty] | 0
364 | [8 empty] | 0
365 | [8 empty] | 0
366 | [8 empty] | 0
367 | [8 empty] | 0
368 | [8 empty] | 0
369 | [8 empty] | 0
370 | [8 empty] | 0
371 | [8 empty] | 0
372 | [8 empty] | 0
373 | [8 empty] | 0
374 | [8 empty] | 0
375 | [8 empty] | 0
376 | [8 empty] | 0
377 | [8 empty] | 0
378 | [8 empty] | 0
379 | [8 empty] | 0
380 | [8 empty] | 0
381 | [8 empty] | 0
382 | [8 empty] | 0
383 | [8 empty] | 0
384 | [8 empty] | 0
385 | [8 empty] | 0
386 | [8 empty] | 0
387 | [8 empty] | 0
388 | [8 empty] | 0
389 | [8 empty] | 0
390 | [8 empty] | 0
391 | [8 empty] | 0
392 | [8 empty] | 0
393 | [8 empty] | 0
394 | [8 empty] | 0
395 | [8 empty] | 0
396 | [8 empty] | 0
397 | [8 empty] | 0
398 | [8 empty] | 0
399 | [8 empty] | 0
400 | [8 empty] | 0
401 | [8 empty] | 0
402 | [8 empty] | 0
403 | [8 empty] | 0
404 | [8 empty] | 0
405 | [8 empty] | 0
406 | [8 empty] | 0
407 | [8 empty] | 0
408 | [8 empty] | 0
409 | [8 empty] | 0
410 | [8 empty] | 0
411 | [8 empty] | 0
412 | [8 empty] | 0
413 | [8 empty] | 0
414 | [8 empty] | 0
415 | [8 empty] | 0
416 | [8 empty] | 0
417 | [8 empty] | 0
418 | [8 empty] | 0
419 | [8 empty] | 0
420 | [8 empty] | 0
421 | [8 empty] | 0
422 | [8 empty] | 0
423 | [8 empty] | 0
424 | [8 empty] | 0
425 | [8 empty] | 0
426 | [8 empty] | 0
427 | [8 empty] | 0
428 | [8 empty] | 0
429 | [8 empty] | 0
430 | [8 empty] | 0
431 | [8 empty] | 0
432 | [8 empty] | 0
433 | [8 empty] | 0
434 | [8 empty] | 0
435 | [8 empty] | 0
436 | [8 empty] | 0
437 | [8 empty] | 0
438 | [8 empty] | 0
439 | [8 empty] | 0
440 | [8 empty] | 0
441 | [8 empty] | 0
442 | [8 empty] | 0
443 | [8 empty] | 0
444 | [8 empty] | 0
445 | [8 empty] | 0
446 | [8 empty] | 0
447 | [8 empty] | 0
448 | [8 empty] | 0
449 | [8 empty] | 0
450 | [8 empty] | 0
451 | [8 empty] | 0
452 | [8 empty] | 0
453 | [8 empty] | 0
454 | [8 empty] | 0
455 | [8 empty] | 0
456 | [8 empty] | 0
457 | [8 empty] | 0
458 | [8 empty] | 0
459 | [8 empty] | 0
460 | [8 empty] | 0
461 | [8 empty] | 0
462 | [8 empty] | 0
463 | [8 empty] | 0
464 | [8 empty] | 0
465 | [8 empty] | 0
466 | [8 empty] | 0
467 | [8 empty] | 0
468 | [8 empty] | 0
469 | [8 empty] | 0
470 | [8 empty] | 0
471 | [8 empty] | 0
472 | [8 empty] | 0
473 | [8 empty] | 0
474 | [8 empty] | 0
475 | [8 empty] | 0
476 | [8 empty] | 0
477 | [8 empty] | 0
478 | [8 empty] | 0
479 | [8 empty] | 0
480 | [8 empty] | 0
481 | [8 empty] | 0
482 | [8 empty] | 0
483 | [8 empty] | 0
484 | [8 empty] | 0
485 | [8 empty] | 0
486 | [8 empty] | 0
487 | [8 empty] | 0
488 | [8 empty] | 0
489 | [8 empty] | 0
490 | [8 empty] | 0
491 | [8 empty] | 0
492 | [8 empty] | 0
493 | [8 empty] | 0
494 | [8 empty] | 0
495 | [8 empty] | 0
496 | [8 empty] | 0
497 | [8 empty] | 0
498 | [8 empty] | 0
499 | [8 empty] | 0
500 | [8 empty] | 0
501 | [8 empty] | 0
502 | [8 empty] | 0
503 | [8 empty] | 0
504 | [8 empty] | 0
505 | [8 empty] | 0
506 | [8 empty] | 0
507 | [8 empty] | 0
508 | [8 empty] | 0
509 | [8 empty] | 0
510 | [8 empty] | 0
511 | [8 empty] | 0
512 | [8 empty] | 0
513 | [8 empty] | 0
514 | [8 empty] | 0
515 | [8 empty] | 0
516 | [8 empty] | 0
517 | [8 empty] | 0
518 | [8 empty] | 0
519 | [8 empty] | 0
520 | [8 empty] | 0
521 | [8 empty] | 0
522 | [8 empty] | 0
523 | [8 empty] | 0
524 | [8 empty] | 0
525 | [8 empty] | 0
526 | [8 empty] | 0
527 | [8 empty] | 0
528 | [8 empty] | 0
529 | [8 empty] | 0
530 | [8 empty] | 0
531 | [8 empty] | 0
532 | [8 empty] | 0
533 | [8 empty] | 0
534 | [8 empty] | 0
535 | [8 empty] | 0
536 | [8 empty] | 0
537 | [8 empty] | 0
538 | [8 empty] | 0
539 | [8 empty] | 0
540 | [8 empty] | 0
541 | [8 empty] | 0
542 | [8 empty] | 0
543 | [8 empty] | 0
544 | [8 empty] | 0
545 | [8 empty] | 0
546 | [8 empty] | 0
547 | [8 empty] | 0
548 | [8 empty] | 0
549 | [8 empty] | 0
550 | [8 empty] | 0
551 | [8 empty] | 0
552 | [8 empty] | 0
553 | [8 empty] | 0
554 | [8 empty] | 0
555 | [8 empty] | 0
556 | [8 empty] | 0
557 | [8 empty] | 0
558 | [8 empty] | 0
559 | [8 empty] | 0
560 | [8 empty] | 0
561 | [8 empty] | 0
562 | [8 empty] | 0
563 | [8 empty] | 0
564 | [8 empty] | 0
565 | [8 empty] | 0
566 | [8 empty] | 0
567 | [8 empty] | 0
568 | [8 empty] | 0
569 | [8 empty] | 0
570 | [8 empty] | 0
571 | [8 empty] | 0
572 | [8 empty] | 0
573 | [8 empty] | 0
574 | [8 empty] | 0
575 | [8 empty] | 0
576 | [8 empty] | 0
577 | [8 empty] | 0
578 | [8 empty] | 0
579 | [8 empty] | 0
580 | [8 empty] | 0
581 | [8 empty] | 0
582 | [8 empty] | 0
583 | [8 empty] | 0
584 | [8 empty] | 0
585 | [8 empty] | 0
586 | [8 empty] | 0
587 | [8 empty] | 0
588 | [8 empty] | 0
589 | [8 empty] | 0
590 | [8 empty] | 0
591 | [8 empty] | 0
592 | [8 empty] | 0
593 | [8 empty] | 0
594 | [8 empty] | 0
595 | [8 empty] | 0
596 | [8 empty] | 0
597 | [8 empty] | 0
598 | [8 empty] | 0
599 | [8 empty] | 0
600 | [8 empty] | 0
601 | [8 empty] | 0
602 | [8 empty] | 0
603 | [8 empty] | 0
604 | [8 empty] | 0
605 | [8 empty] | 0
606 | [8 empty] | 0
607 | [8 empty] | 0
608 | [8 empty] | 0
609 | [8 empty] | 0
610 | [8 empty] | 0
611 | [8 empty] | 0
612 | [8 empty] | 0
613 | [8 empty] | 0
614 | [8 empty] | 0
615 | [8 empty] | 0
616 | [8 empty] | 0
617 | [8 empty] | 0
618 | [8 empty] | 0
619 | [8 empty] | 0
620 | [8 empty] | 0
621 | [8 empty] | 0
622 | [8 empty] | 0
623 | [8 empty] | 0
624 | [8 empty] | 0
625 | [8 empty] | 0
626 | [8 empty] | 0
627 | [8 empty] | 0
628 | [8 empty] | 0
629 | [8 empty] | 0
630 | [8 empty] | 0
631 | [8 empty] | 0
632 | [8 empty] | 0
633 | [8 empty] | 0
634 | [8 empty] | 0
635 | [8 empty] | 0
636 | [8 empty] | 0
637 | [8 empty] | 0
638 | [8 empty] | 0
639 | [8 empty] | 0
640 | [8 empty] | 0
641 | [8 empty] | 0
642 | [8 empty] | 0
643 | [8 empty] | 0
644 | [8 empty] | 0
645 | [8 empty] | 0
646 | [8 empty] | 0
647 | [8 empty] | 0
648 | [8 empty] | 0
649 | [8 empty] | 0
650 | [8 empty] | 0
651 | [8 empty] | 0
652 | [8 empty] | 0
653 | [8 empty] | 0
654 | [8 empty] | 0
655 | [8 empty] | 0
656 | [8 empty] | 0
657 | [8 empty] | 0
658 | [8 empty] | 0
659 | [8 empty] | 0
660 | [8 empty] | 0
661 | [8 empty] | 0
662 | [8 empty] | 0
663 | [8 empty] | 0
664 | [8 empty] | 0
665 | [8 empty] | 0
666 | [8 empty] | 0
667 | [8 empty] | 0
668 | [8 empty] | 0
669 | [8 empty] | 0
670 | [8 empty] | 0
671 | [8 empty] | 0
672 | [8 empty] | 0
673 | [8 empty] | 0
674 | [8 empty] | 0
675 | [8 empty] | 0
676 | [8 empty] | 0
677 | [8 empty] | 0
678 | [8 empty] | 0
679 | [8 empty] | 0
680 | [8 empty] | 0
681 | [8 empty] | 0
682 | [8 empty] | 0
683 | [8 empty] | 0
684 | [8 empty] | 0
685 | [8 empty] | 0
686 | [8 empty] | 0
687 | [8 empty] | 0
688 | [8 empty] | 0
689 | [8 empty] | 0
690 | [8 empty] | 0
691 | [8 empty] | 0
692 | [8 empty] | 0
693 | [8 empty] | 0
694 | [8 empty] | 0
695 | [8 empty] | 0
696 | [8 empty] | 0
697 | [8 empty] | 0
698 | [8 empty] | 0
699 | [8 empty] | 0
700 | [8 empty] | 0
701 | [8 empty] | 0
702 | [8 empty] | 0
703 | [8 empty] | 0
704 | [8 empty] | 0
705 | [8 empty] | 0
706 | [8 empty] | 0
707 | [8 empty] | 0
708 | [8 empty] | 0
709 | [8 empty] | 0
710 | [8 empty] | 0
711 | [8 empty] | 0
712 | [8 empty] | 0
713 | [8 empty] | 0
714 | [8 empty] | 0
715 | [8 empty] | 0
716 | [8 empty] | 0
717 | [8 empty] | 0
718 | [8 empty] | 0
719 | [8 empty] | 0
720 | [8 empty] | 0
721 | [8 empty] | 0
722 | [8 empty] | 0
723 | [8 empty] | 0
724 | [8 empty] | 0
725 | [8 empty] | 0
726 | [8 empty] | 0
727 | [8 empty] | 0
728 | [8 empty] | 0
729 | [8 empty] | 0
730 | [8 empty] | 0
731 | [8 empty] | 0
732 | [8 empty] | 0
733 | [8 empty] | 0
734 | [8 empty] | 0
735 | [8 empty] | 0
736 | [8 empty] | 0
737 | [8 empty] | 0
738 | [8 empty] | 0
739 | [8 empty] | 0
740 | [8 empty] | 0
741 | [8 empty] | 0
742 | [8 empty] | 0
743 | [8 empty] | 0
744 | [8 empty] | 0
745 | [8 empty] | 0
746 | [8 empty] | 0
747 | [8 empty] | 0
748 | [8 empty] | 0
749 | [8 empty] | 0
750 | [8 empty] | 0
751 | [8 empty] | 0
752 | [8 empty] | 0
753 | [8 empty] | 0
754 | [8 empty] | 0
755 | [8 empty] | 0
756 | [8 empty] | 0
757 | [8 empty] | 0
758 | [8 empty] | 0
759 | [8 empty] | 0
760 | [8 empty] | 0
761 | [8 empty] | 0
762 | [8 empty] | 0
763 | [8 empty] | 0
764 | [8 empty] | 0
765 | [8 empty] | 0
766 | [8 empty] | 0
767 | [8 empty] | 0
768 | [8 empty] | 0
769 | [8 empty] | 0
770 | [8 empty] | 0
771 | [8 empty] | 0
772 | [8 empty] | 0
773 | [8 empty] | 0
774 | [8 empty] | 0
775 | [8 empty] | 0
776 | [8 empty] | 0
777 | [8 empty] | 0
778 | [8 empty] | 0
779 | [8 empty] | 0
780 | [8 empty] | 0
781 | [8 empty] | 0
782 | [8 empty] | 0
783 | [8 empty] | 0
784 | [8 empty] | 0
785 | [8 empty] | 0
786 | [8 empty] | 0
787 | [8 empty] | 0
788 | [8 empty] | 0
789 | [8 empty] | 0
790 | [8 empty] | 0
791 | [8 empty] | 0
792 | [8 empty] | 0
793 | [8 empty] | 0
794 | [8 empty] | 0
795 | [8 empty] | 0
796 | [8 empty] | 0
797 | [8 empty] | 0
798 | [8 empty] | 0
799 | [8 empty] | 0
800 | [8 empty] | 0
801 | [8 empty] | 0
802 | [8 empty] | 0
803 | [8 empty] | 0
804 | [8 empty] | 0
805 | [8 empty] | 0
806 | [8 empty] | 0
807 | [8 empty] | 0
808 | [8 empty] | 0
809 | [8 empty] | 0
810 | [8 empty] | 0
811 | [8 empty] | 0
812 | [8 empty] | 0
813 | [8 empty] | 0
814 | [8 empty] | 0
815 | [8 empty] | 0
816 | [8 empty] | 0
817 | [8 empty] | 0
818 | [8 empty] | 0
819 | [8 empty] | 0
820 | [8 empty] | 0
821 | [8 empty] | 0
822 | [8 empty] | 0
823 | [8 empty] | 0
824 | [8 empty] | 0
825 | [8 empty] | 0
826 | [8 empty] | 0
827 | [8 empty] | 0
828 | [8 empty] | 0
829 | [8 empty] | 0
830 | [8 empty] | 0
831 | [8 empty] | 0
832 | [8 empty] | 0
833 | [8 empty] | 0
834 | [8 empty] | 0
835 | [8 empty] | 0
836 | [8 empty] | 0
837 | [8 empty] | 0
838 | [8 empty] | 0
839 | [8 empty] | 0
840 | [8 empty] | 0
841 | [8 empty] | 0
842 | [8 empty] | 0
843 | [8 empty] | 0
844 | [8 empty] | 0
845 | [8 empty] | 0
846 | [8 empty] | 0
847 | [8 empty] | 0
848 | [8 empty] | 0
849 | [8 empty] | 0
850 | [8 empty] | 0
851 | [8 empty] | 0
852 | [8 empty] | 0
853 | [8 empty] | 0
854 | [8 empty] | 0
855 | [8 empty] | 0
856 | [8 empty] | 0
857 | [8 empty] | 0
858 | [8 empty] | 0
859 | [8 empty] | 0
860 | [8 empty] | 0
861 | [8 empty] | 0
862 | [8 empty] | 0
863 | [8 empty] | 0
864 | [8 empty] | 0
865 | [8 empty] | 0
866 | [8 empty] | 0
867 | [8 empty] | 0
868 | [8 empty] | 0
869 | [8 empty] | 0
870 | [8 empty] | 0
871 | [8 empty] | 0
872 | [8 empty] | 0
873 | [8 empty] | 0
874 | [8 empty] | 0
875 | [8 empty] | 0
876 | [8 empty] | 0
877 | [8 empty] | 0
878 | [8 empty] | 0
879 | [8 empty] | 0
880 | [8 empty] | 0
881 | [8 empty] | 0
882 | [8 empty] | 0
883 | [8 empty] | 0
884 | [8 empty] | 0
885 | [8 empty] | 0
886 | [8 empty] | 0
887 | [8 empty] | 0
888 | [8 empty] | 0
889 | [8 empty] | 0
890 | [8 empty] | 0
891 | [8 empty] | 0
892 | [8 empty] | 0
893 | [8 empty] | 0
894 | [8 empty] | 0
895 | [8 empty] | 0
896 | [8 empty] | 0
897 | [8 empty] | 0
898 | [8 empty] | 0
899 | [8 empty] | 0
900 | [8 empty] | 0
901 | [8 empty] | 0
902 | [8 empty] | 0
903 | [8 empty] | 0
904 | [8 empty] | 0
905 | [8 empty] | 0
906 | [8 empty] | 0
907 | [8 empty] | 0
908 | [8 empty] | 0
909 | [8 empty] | 0
910 | [8 empty] | 0
911 | [8 empty] | 0
912 | [8 empty] | 0
913 | [8 empty] | 0
914 | [8 empty] | 0
915 | [8 empty] | 0
916 | [8 empty] | 0
917 | [8 empty] | 0
918 | [8 empty] | 0
919 | [8 empty] | 0
920 | [8 empty] | 0
921 | [8 empty] | 0
922 | [8 empty] | 0
923 | [8 empty] | 0
924 | [8 empty] | 0
925 | [8 empty] | 0
926 | [8 empty] | 0
927 | [8 empty] | 0
928 | [8 empty] | 0
929 | [8 empty] | 0
930 | [8 empty] | 0
931 | [8 empty] | 0
932 | [8 empty] | 0
933 | [8 empty] | 0
934 | [8 empty] | 0
935 | [8 empty] | 0
936 | [8 empty] | 0
937 | [8 empty] | 0
938 | [8 empty] | 0
939 | [8 empty] | 0
940 | [8 empty] | 0
941 | [8 empty] | 0
942 | [8 empty] | 0
943 | [8 empty] | 0
944 | [8 empty] | 0
945 | [8 empty] | 0
946 | [8 empty] | 0
947 | [8 empty] | 0
948 | [8 empty] | 0
949 | [8 empty] | 0
950 | [8 empty] | 0
951 | [8 empty] | 0
952 | [8 empty] | 0
953 | [8 empty] | 0
954 | [8 empty] | 0
955 | [8 empty] | 0
956 | [8 empty] | 0
957 | [8 empty] | 0
958 | [8 empty] | 0
959 | [8 empty] | 0
960 | [8 empty] | 0
961 | [8 empty] | 0
962 | [8 empty] | 0
963 | [8 empty] | 0
964 | [8 empty] | 0
965 | [8 empty] | 0
966 | [8 empty] | 0
967 | [8 empty] | 0
968 | [8 empty] | 0
969 | [8 empty] | 0
970 | [8 empty] | 0
971 | [8 empty] | 0
972 | [8 empty] | 0
973 | [8 empty] | 0
974 | [8 empty] | 0
975 | [8 empty] | 0
976 | [8 empty] | 0
977 | [8 empty] | 0
978 | [8 empty] | 0
979 | [8 empty] | 0
980 | [8 empty] | 0
981 | [8 empty] | 0
982 | [8 empty] | 0
983 | [8 empty] | 0
984 | [8 empty] | 0
985 | [8 empty] | 0
986 | [8 empty] | 0
987 | [8 empty] | 0
988 | [8 empty] | 0
989 | [8 empty] | 0
990 | [8 empty] | 0
991 | [8 empty] | 0
992 | [8 empty] | 0
993 | [8 empty] | 0
994 | [8 empty] | 0
995 | [8 empty] | 0
996 | [8 empty] | 0
997 | [8 empty] | 0
998 | [8 empty] | 0
999 | [8 empty] | 0
1000 | [8 empty] | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false189999
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Assistant commissionar tribal development sakti (C.G)(ACTDSKT) | ACTDSKT | RES_BUILDING | RESBDG | Per mile | %O
Assistant commissioner tribal department Dantewada(ACTDD) | ACTDD | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Atal Bihari Vajpayee Vishvavidyalaya,Bilaspur Chhattisgarh(ABVVBC) | ABVVBC | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | NON SOR | NS | 1000No. | 1000No.
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | WRD | WRD | MAN DAYS | 12345
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | ELECTRIC | ELECT | 1 Box | 1B
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | PMGSY SOR | PMGSY | 1 Piece | 1P
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | Creda SOR | CREDA_SOR | 1 Strip | 1S
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | PWD BUILDLING | PWD BLD | 1 Tube | 1T
Bilaspur Smart City Limited(BSCL) | BSCL | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS |  |  | Siemens Per meter | A/V
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW |  |  | Acre | ACR
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR |  |  | AMC | AMC
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | AMPOULE | AMP
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | As per Tender | APT1
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | Activity unit | AU
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | Bag | BAG
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | barrel | barrel
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | Batch | Batch
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | BHQ | BHQ
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | Book | BK
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | BOTTLE | BOT
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | Box | BOX
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | Brass | Brass
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Billing Rate Per Month | BRM
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Bottle | BT
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Bundle | Bundle
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Cubic sentimeter /second | C3S
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Canister | CAN
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Carton | CAR
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Cubic Centimeter | CCM
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Cubic decimeter | CD3
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Centiliter | CL
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | cm | cm
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Centimeter | CM
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | Square centimeter | CM2
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | coils | coils
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | COILS | Coils
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | CONE | CONE
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Copies | Copies
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Crate | CRT
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Case | CS
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Cu.Mtr. | Cu.Mtr.
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | cubic feet | cubic feet
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cubic feet (CFT) | cubic feet (CFT)
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | cum | cum
Chhattisgarh Transport Department(CTD) | CTD |  |  | cum.km | cum.km
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | Days | DAY
Collectorate Balod(CB) | CB |  |  | Degree | DEG
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | DFLT | DFLT
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | DHQ | DHQ
Department of Good Governance and Convergence(DGGC) | DGGC |  |  | DHQ-BHQ | DHQ-BHQ
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Decimeter | DM
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Drum | DR
Department of School Education (DSE) | DSE |  |  | DRUM | DRUM
Department of Technical Education (DTE) | DTE |  |  | Dozen | DZ
Department of Tribal and Scheduled Caste Manendragarh-Chirmiri-Bharatpur(DTSCMCB) | DTSCMCB |  |  | EACH | EA
Department of Women and Child Development(WCD) | WCD |  |  | each | each
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | EACH | EACH
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | each additional floor | each additional floor
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | Each Courty | Each Court
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | each cut | each cut
Directorate of Archaeology, Archives and Museum(DAAM) | DAAM |  |  | EACH FRAME | EACH FRAME
Directorate of Aviation(DoA) | DoA |  |  | Each rol | Each rol
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | each test | each test
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | each tree guard | each tree guard
Directorate of Culture and Language(DCL) | DCL |  |  | each tree guard | each tree guard
Directorate of Employment and Training(DOEAT) | DOEAT |  |  | Each box | EB
Directorate of Fisheries (DF) | DF |  |  | Enzyme Units / Milliliter | EML
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | Each TAPE | ET
Directorate of Industries(DOI) | DOI |  |  | Enzyme Units | EU
Directorate of Institutional Finance(DIF) | DIF |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | For each PPE KIT | For each PPE KIT
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | For each Test KIT | For each Test KIT
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | For each VTM Kit | For each VTM Kit
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | Fluid Ounce US | FOZ
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | Feet | FT
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | Square foot | FT2
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | Cubic Foot | FT3
DISTRICT POLICE KORBA(DPK) | DPK |  |  | Gigajoule | FY
District Project Livelihood College Society (DPLCS) Dantewada(DPLCS) | DPLCS |  |  | Gram | G
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | gram act.ingrd /liter | G/L
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | US gallon | GAL
Food and Drug Administration (FDA) | FDA |  |  | Gram Gold | GAU
Forest Department(FD) | FD |  |  | Gram act.ingrd. | GI
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | Gram /liter | GLI
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | Gram/Mol | GM
Health Department (HD) | HD |  |  | Gram/Kilogram | gm/kg
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | Gram /square meter | GM2
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Gram/Cubic meter | GM3
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Gigaohm | GOH
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | Gallons per mile (US) | GPM
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gross | GRO
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Hour | H
Jila Nirman Samiti Narayanpur(JNSN) | JNSN |  |  | Hectare | HA
Jila Sahakari Kendariya Bank Mydt. Raipur(JSKBM) | JSKBM |  |  | hectare | hectare
Jila Sahakari Kendriya Bank Mydt. Durg (CG)(JSKBMD) | JSKBMD |  |  | Hectoliter | HL
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | hour | hour
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Horse power | HP
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | Hours | HR
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Hours | Hrs
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | hundred Pieces | hundred Pieces
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | HALF YEARLY | HY
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | I/O Point | I/O Point
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | INHALER | INH
Livestock Development Department(LDD) | LDD |  |  | Indian Rupees | INR
Maa danteshwari Maize processing and marketing cooperative society ltd. Kondagaon(MDMPMCSL) | MDMPMCSL |  |  | JAR | JAR
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | Joule /kilogram | JKG
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | Joule /Mol | JMO
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Job | Job
Mineral Resources Department -Mining (MRD) | MRD |  |  | joint | joint
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | Kilogram act.ingrd | KAI
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | Kilogram /cubic decimeter | KD3
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | kg | kg
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | Kgs | Kg
OFFICE DISTRICT PROJECT LIVELIHOOD COLLEGE SOCIETY SUKMA DIST (C.G)(ODPLCSCD) | ODPLCSCD |  |  | Kilogram | KG
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | Kilogram/Mol | KGM
Office of collector Raigarh(OCR) | OCR |  |  | Kilogram /Second | KGS
Office of Commissioner Land Records Chhattisgarh(OCLR) | OCLR |  |  | Kilogram / cubic meter | KGV
Office of District Collector Tribal welfare Department Bijapur(ODCTWDB) | ODCTWDB |  |  | kg act.ingrd /kg | KIK
Office of District Collector, Sarangarh &ndash; Bilaigarh(ODCSB) | ODCSB |  |  | KILOWATT | KILOWATT
Office of Superintendent of Police, District- Mahasamund(OSPM) | OSPM |  |  | KIT | KIT
Office of Superintendent of Police, District-Balod(OSPDB) | OSPDB |  |  | Kilojoule/kilogram | KJK
Office of the Collector Sukma (C.G)(OOCS) | OOCS |  |  | Kilojoule/Mol | KJM
Office of the collector,Bastar (C.G)(OOTCB) | OOTCB |  |  | Kilo Litre | KL
office of the collectrorate Gariyaband(OCGBND) | OCGBND |  |  | Km | Km
Panchayat and Rural Development (PARD) | PARD |  |  | Kilometer | KM
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | km. | km.
Public Health Engineering Department (PHED) | PHED |  |  | Square kilometer | KM2
Public Works Department (PWD) | PWD |  |  | Kilometer/hour | KMH
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | Kelvin/Minute | KMN
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | Kelvin /Second | KMS
Raipur Collectorate (RC) | RC |  |  | Kilonewton per square meter | KNM
Raipur Development Authority (RDA) | RDA |  |  | Kilopascal | KPA
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Kilotonne | KT
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilovoltampere | KVA
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | KWH | KWH
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | KILOWATT POWER | KWP
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | kwp-dc | kwp-dc
Rural Engineering Services (RES) | RES |  |  | US Pound | LB
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | lemgth | lemgth
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | length | length
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | Liter per 100 km | LHK
State Tax Chhattisgarh(STCG) | STCG |  |  | litre | litre
State Urban Development Agency (SUDA) | SUDA |  |  | Liter /Minute | LMI
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | Liter /Molsecond | LMS
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | LOT | LOT
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | Liter Per hour | LPH
Tribal and Scheduled Caste Development Department(Mohla Manpur Ambagarh Chauki)(TASCDDMMAC) | TASCDDMMAC |  |  | Lumpsum | LS
Tribal Welfare Department, District Sukma(TWDDS) | TWDDS |  |  | LITRE | LT
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | lumpsump | lumpsump
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | Meter | M
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | 1/square meter | M-2
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Mol per cubic meter | M:M
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | Megawatt hours | M..
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | M.T. | M.T.
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Meter /Hour | M/H
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | Mol per liter | M/L
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | Meter /second | M/S
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | Square meter | M2
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | Square meter/Coat | M2C
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | Square meter/second | M2S
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | Cubic meter | M3
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | Cubic meter /Hour | M3H
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | Cubic meter/second | M3S
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | Man days | Man days
Tribal Welfare Development Department Khairagarh -Chhuikhadan -Gandai (Collectorate)(TWDDKCG) | TWDDKCG |  |  | Man-Month | Man-Month
Tribal Welfare Development Department Kondagaon(TWDDK) | TWDDK |  |  | ManDay | ManDay
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | Manmonth | Manmonth
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Mbps | Mb
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | Megajoule | MEJ
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | meter | meter
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | metre | metre
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Milligram | MG
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Milligram/liter | MGL
Urban Administration and Development Department (UADD) | UADD |  |  | Megohm | MGO
Water Resources Department (WRD) | WRD |  |  | Milligram /cubic meter | MGQ
Zila Nirman Samiti Bijapur(ZNSB) | ZNSB |  |  | Megavolt | MHV
Zila Panchayat Dhamtari(ZPD) | ZPD |  |  | Mile | MI
Zila Panchayat Raipur(ZPR) | ZPR |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Per 100 kw per set | P100KW
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per conversation | per conversation
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | Per Hour | Per Hour
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | Per inch | Per inch
|  |  |  | PER ITEM | PER ITEM
|  |  |  | Per Kg | Per Kg
|  |  |  | PER KL | PER KL
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per Night | Per Night
|  |  |  | per nos | per nos
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | PER POLICY | PER POLICY
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | Per Advisory | PERADV
|  |  |  | percentage of DPR cost | percentage of DPR cost
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | Per HP Per Set | PHPPS
|  |  |  | per Hactare - per year | PHPY
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | percentage of DPR cost | PODPRC
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Per Page Cost | PPC
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Span | Span
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM